## Load Schematic
15A
Freq. Conv. Power Bus
(FCB)
15A
15A
15A
15A
UPS Power Bus
(UPSB)
FC Power
(2KVA Max)
UPS Power
(2KVA Max)
HIPO Power
Distrib. Box
Freq. Conv. Power
Strip #1, 12A
(FCPS1)
LCD Monitor #1
LCD Monitor #2
UPS Power Strip #2,
12A (UST2)
Red Channel Power
15A (RCP)
Trak 8821, Red
AT-MC13 Media Converter, Red
3Com 3226 Network Switch
Trak 8821, Blue
AT-MC13 Media Converter, Blue
Netra T1, Blue Channel (ibis)
Netra T1, Red Channel (egret)
Mac Mini, Primary (grebe)
UPS Power Strip #1, 12A (UST2)
Blue Channel Power
15A (RCP)
VMM-D1 Shutter Driver Unit
VI-PU13-EYU DC power supp.
ARC-81 CCD Cont. pwr Supp
VMM-D1 Shutter Driver Unit
VI-PU13-EYU DC power supp.
ARC-81 CCD Cont. pwr Supp
Equipment Mounted on Telescope
Laptop #1
Laptop #2
Laptop #3
Netra T1, Blue Backup (hipo)
Mac Mini, Backup (jacana)
Netra T1, Red Backup (croc)
Network Attached Storage
Mac Mini Backup Disk
Lexmark Laser Printer
GROUND USE ONLY
NOTE: Only 6 of the 8 FCB items may be connected at the same time.

## BUS SUMMARY
|  | CONNECTED |  |  | GROUND |  |  | ENGINE | [5 empty] | TAKE OFF | [5 empty] | HOLD |  | CONNECTED | LOAD | GROUND | OPERATIONS | ENGINE | START | TAXI |  | TAKE OFF | & CLIMB | CRUISE |  | HOLD & | LAND | Ground | 1148.0521 | 869.8839
Bus |  | LOAD |  |  | OPERATION |  |  | START |  |  | TAXI |  |  | & CLIMB |  |  | CRUISE |  |  | AND LAND |  | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | Loading | 1148.0521 | 690.6651
Description | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | [14 empty] | Engine Start | 459.9928 | 690.6651
Frequency Converter Bus | 1148.0521 |  | 0.93646 | 1148.0521 |  | 0.93646 | 459.9928 |  | 0.59718 | 459.9928 |  | 0.59718 | 330 |  | 0.6 | 459.9928 |  | 0.59718 | 330 |  | 0.6 | 1075.1 | 402.7202 | 1075.1 | 402.7202 | 274.7 | 368.9624 | 274.7 | 368.9624 | 198 | 264 | 274.7 | 368.9624 | 198 | 264 | Taxi | 459.9928 | 690.6651
Un-Interruptable Power Supply Bus | 869.8839 |  | 0.83926 | 690.6651 |  | 0.76752 | 690.6651 |  | 0.76752 | 690.6651 |  | 0.76752 | 528.3336 |  | 0.62487 | 690.6651 |  | 0.76752 | 528.3336 |  | 0.62487 | 730.06 | 472.9804 | 530.1 | 442.7328 | 530.1 | 442.7328 | 530.1 | 442.7328 | 330.14 | 412.4852 | 530.1 | 442.7328 | 330.14 | 412.4852 | Takeoff & Climb | 330 | 528.3336
[22 empty] | 1805.16 | 875.7006 | 1605.2 | 845.453 | 804.8 | 811.6952 | 804.8 | 811.6952 | 528.14 | 676.4852 | 804.8 | 811.6952 | 528.14 | 676.4852 | Cruise | 459.9928 | 690.6651
[22 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Hold & Land | 330 | 528.3336
[22 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
Maximum Useable Power 2000 VA
Maximum Useable Power 2000 VA

## FREQ CONV BUS
| BUS: | FCB | Frequency Converter Bus | [7 empty] | NEXT HIGHER BUS: |  | MCCS
[6 empty] | CONNECTED |  |  | GROUND |  |  | ENGINE | [5 empty] | TAKE OFF | [5 empty] | HOLD |  | CONNECTED | LOAD | GROUND | OPERATIONS | ENGINE | START | TAXI |  | TAKE OFF | & CLIMB | CRUISE |  | HOLD & | LAND
ATA |  | STRIP/ | EQUIPMENT |  |  | LOAD |  |  | OPERATION |  |  | START |  |  | TAXI |  |  | & CLIMB |  |  | CRUISE |  |  | AND LAND |  | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR
CHPT |  | C/B NO. | NOMENCLATURE |  | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF
|  | FCPS1 | Freq Conv Pwr Strip #1 |  | 1148.0521 |  | 0.93646 | 1148.0521 |  | 0.93646 | 459.9928 |  | 0.59718 | 459.9928 |  | 0.59718 | 330 |  | 0.6 | 459.9928 |  | 0.59718 | 330 |  | 0.6 | 1075.1 | 402.7202 | 1075.1 | 402.7202 | 274.7 | 368.9624 | 274.7 | 368.9624 | 198 | 264 | 274.7 | 368.9624 | 198 | 264
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | CONNECTED | LOAD | GROUND | OPERATIONS | ENGINE | START | TAXI |  | TAKE OFF | & CLIMB | CRUISE |  | HOLD & | LAND
[26 empty] | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot
|  |  |  | BUS TOTALS: | VA |  | 1148.0521 | VA |  | 1148.0521 | VA |  | 459.9928 | VA |  | 459.9928 | VA |  | 330 | VA |  | 459.9928 | VA |  | 330 | 1075.1 | 402.7202 | 1075.1 | 402.7202 | 274.7 | 368.9624 | 274.7 | 368.9624 | 198 | 264 | 274.7 | 368.9624 | 198 | 264
[5 empty] | PF |  | 0.93646 | PF |  | 0.93646 | PF |  | 0.59718 | PF |  | 0.59718 | PF |  | 0.6 | PF |  | 0.59718 | PF |  | 0.6
[5 empty] | W |  | 1075.1 | W |  | 1075.1 | W |  | 274.7 | W |  | 274.7 | W |  | 198 | W |  | 274.7 | W |  | 198
[5 empty] | VAR |  | 402.7202 | VAR |  | 402.7202 | VAR |  | 368.9624 | VAR |  | 368.9624 | VAR |  | 264 | VAR |  | 368.9624 | VAR |  | 264
| BUS: | FCPS1 | Freq Conv Pwr Strip #1 | [7 empty] | NEXT HIGHER BUS: |  | FCB
[6 empty] | CONNECTED |  |  | GROUND |  |  | ENGINE | [5 empty] | TAKE OFF | [5 empty] | HOLD |  | CONNECTED | LOAD | GROUND | OPERATIONS | ENGINE | START | TAXI |  | TAKE OFF | & CLIMB | CRUISE |  | HOLD & | LAND
ATA |  | STRIP/ | EQUIPMENT |  |  | LOAD |  |  | OPERATION |  |  | START |  |  | TAXI |  |  | & CLIMB |  |  | CRUISE |  |  | AND LAND |  | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR
CHPT |  | C/B NO. | NOMENCLATURE |  | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF
|  |  | LCD Monitor #1 |  | 65 |  | 0.59 | 65 |  | 0.59 | 65 |  | 0.59 | 65 |  | 0.59 | 0 |  |  | 65 |  | 0.59 | 0 |  |  | 38.35 | 52.4812 | 38.35 | 52.4812 | 38.35 | 52.4812 | 38.35 | 52.4812 | 0 | 0 | 38.35 | 52.4812 | 0 | 0
|  |  | LCD Monitor #2 |  | 65 |  | 0.59 | 65 |  | 0.59 | 65 |  | 0.59 | 65 |  | 0.59 | 0 |  |  | 65 |  | 0.59 | 0 |  |  | 38.35 | 52.4812 | 38.35 | 52.4812 | 38.35 | 52.4812 | 38.35 | 52.4812 | 0 | 0 | 38.35 | 52.4812 | 0 | 0
|  |  | Laptop #1 |  | 110 |  | 0.6 | 110 |  | 0.6 | 110 |  | 0.6 | 110 |  | 0.6 | 110 |  | 0.6 | 110 |  | 0.6 | 110 |  | 0.6 | 66 | 88 | 66 | 88 | 66 | 88 | 66 | 88 | 66 | 88 | 66 | 88 | 66 | 88
|  |  | Laptop #2 |  | 110 |  | 0.6 | 110 |  | 0.6 | 110 |  | 0.6 | 110 |  | 0.6 | 110 |  | 0.6 | 110 |  | 0.6 | 110 |  | 0.6 | 66 | 88 | 66 | 88 | 66 | 88 | 66 | 88 | 66 | 88 | 66 | 88 | 66 | 88
|  |  | Laptop #3 |  | 110 |  | 0.6 | 110 |  | 0.6 | 110 |  | 0.6 | 110 |  | 0.6 | 110 |  | 0.6 | 110 |  | 0.6 | 110 |  | 0.6 | 66 | 88 | 66 | 88 | 66 | 88 | 66 | 88 | 66 | 88 | 66 | 88 | 66 | 88
|  |  | Network Attached Storage - NOT FOR FLIGHT |  | 90 |  | 0.98 | 90 |  | 0.98 | [15 empty] | 88.2 | 17.9098 | 88.2 | 17.9098 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Mac Mini backup disk - NOT FOR FLIGHT |  | 20 |  | 0.61 | 20 |  | 0.61 | [15 empty] | 12.2 | 15.848 | 12.2 | 15.848 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Lexmark Laser Printer (max, peak) - NOT FOR FLIGHT |  | 700 |  | 1 | 700 |  | 1 | [15 empty] | 700 | 0 | 700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | NOTE: Only 6 of these 8 items may be connected | [22 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | simultaneously. | [22 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | CONNECTED | LOAD | GROUND | OPERATIONS | ENGINE | START | TAXI |  | TAKE OFF | & CLIMB | CRUISE |  | HOLD & | LAND
[26 empty] | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot
|  |  |  | BUS TOTALS: | VA |  | 1148.0521 | VA |  | 1148.0521 | VA |  | 459.9928 | VA |  | 459.9928 | VA |  | 330 | VA |  | 459.9928 | VA |  | 330 | 1075.1 | 402.7202 | 1075.1 | 402.7202 | 274.7 | 368.9624 | 274.7 | 368.9624 | 198 | 264 | 274.7 | 368.9624 | 198 | 264
[5 empty] | PF |  | 0.93646 | PF |  | 0.93646 | PF |  | 0.59718 | PF |  | 0.59718 | PF |  | 0.6 | PF |  | 0.59718 | PF |  | 0.6
[5 empty] | W |  | 1075.1 | W |  | 1075.1 | W |  | 274.7 | W |  | 274.7 | W |  | 198 | W |  | 274.7 | W |  | 198
[5 empty] | VAR |  | 402.7202 | VAR |  | 402.7202 | VAR |  | 368.9624 | VAR |  | 368.9624 | VAR |  | 264 | VAR |  | 368.9624 | VAR |  | 264

## UPS BUS
| BUS: | UPSB | Un-Interruptable Power Supply Bus | [7 empty] | NEXT HIGHER BUS: |  | MCCS
[6 empty] | CONNECTED |  |  | GROUND |  |  | ENGINE | [5 empty] | TAKE OFF | [5 empty] | HOLD |  | CONNECTED | LOAD | GROUND | OPERATIONS | ENGINE | START | TAXI |  | TAKE OFF | & CLIMB | CRUISE |  | HOLD & | LAND
ATA |  | STRIP/ | EQUIPMENT |  |  | LOAD |  |  | OPERATION |  |  | START |  |  | TAXI |  |  | & CLIMB |  |  | CRUISE |  |  | AND LAND |  | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR
CHPT |  | C/B NO. | NOMENCLATURE |  | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF
|  | UST1 | Strip #1 |  | 71.7599 |  | 0.68339 | 71.7599 |  | 0.68339 | 71.7599 |  | 0.68339 | 71.7599 |  | 0.68339 | 71.7599 |  | 0.68339 | 71.7599 |  | 0.68339 | 71.7599 |  | 0.68339 | 49.04 | 52.3886 | 49.04 | 52.3886 | 49.04 | 52.3886 | 49.04 | 52.3886 | 49.04 | 52.3886 | 49.04 | 52.3886 | 49.04 | 52.3886
|  | UST2 | Strip #2 |  | 404.4696 |  | 0.98875 | 202.2348 |  | 0.98875 | 202.2348 |  | 0.98875 | 202.2348 |  | 0.98875 | 0 |  | 0 | 202.2348 |  | 0.98875 | 0 |  | 0 | 399.92 | 60.4952 | 199.96 | 30.2476 | 199.96 | 30.2476 | 199.96 | 30.2476 | 0 | 0 | 199.96 | 30.2476 | 0 | 0
|  | RCP | Red Channel |  | 228.4112 |  | 0.61534 | 228.4112 |  | 0.61534 | 228.4112 |  | 0.61534 | 228.4112 |  | 0.61534 | 228.4112 |  | 0.61534 | 228.4112 |  | 0.61534 | 228.4112 |  | 0.61534 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483
|  | BCP | Blue Channel |  | 228.4112 |  | 0.61534 | 228.4112 |  | 0.61534 | 228.4112 |  | 0.61534 | 228.4112 |  | 0.61534 | 228.4112 |  | 0.61534 | 228.4112 |  | 0.61534 | 228.4112 |  | 0.61534 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | CONNECTED | LOAD | GROUND | OPERATIONS | ENGINE | START | TAXI |  | TAKE OFF | & CLIMB | CRUISE |  | HOLD & | LAND
[26 empty] | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot
|  |  |  | BUS TOTALS: | VA |  | 869.8839 | VA |  | 690.6651 | VA |  | 690.6651 | VA |  | 690.6651 | VA |  | 528.3336 | VA |  | 690.6651 | VA |  | 528.3336 | 730.06 | 472.9804 | 530.1 | 442.7328 | 530.1 | 442.7328 | 530.1 | 442.7328 | 330.14 | 412.4852 | 530.1 | 442.7328 | 330.14 | 412.4852
[5 empty] | PF |  | 0.83926 | PF |  | 0.76752 | PF |  | 0.76752 | PF |  | 0.76752 | PF |  | 0.62487 | PF |  | 0.76752 | PF |  | 0.62487
[5 empty] | W |  | 730.06 | W |  | 530.1 | W |  | 530.1 | W |  | 530.1 | W |  | 330.14 | W |  | 530.1 | W |  | 330.14
[5 empty] | VAR |  | 472.9804 | VAR |  | 442.7328 | VAR |  | 442.7328 | VAR |  | 442.7328 | VAR |  | 412.4852 | VAR |  | 442.7328 | VAR |  | 412.4852
| BUS: | UST1 | UPS Strip #1 | [7 empty] | NEXT HIGHER BUS: |  | UPSB
[6 empty] | CONNECTED |  |  | GROUND |  |  | ENGINE | [5 empty] | TAKE OFF | [5 empty] | HOLD |  | CONNECTED | LOAD | GROUND | OPERATIONS | ENGINE | START | TAXI |  | TAKE OFF | & CLIMB | CRUISE |  | HOLD & | LAND
ATA |  | STRIP/ | EQUIPMENT |  |  | LOAD |  |  | OPERATION |  |  | START |  |  | TAXI |  |  | & CLIMB |  |  | CRUISE |  |  | AND LAND |  | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR
CHPT |  | C/B NO. | NOMENCLATURE |  | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF
|  |  | Trak 8821, Blue Channel |  | 16 |  | 0.62 | 16 |  | 0.62 | 16 |  | 0.62 | 16 |  | 0.62 | 16 |  | 0.62 | 16 |  | 0.62 | 16 |  | 0.62 | 9.92 | 12.5536 | 9.92 | 12.5536 | 9.92 | 12.5536 | 9.92 | 12.5536 | 9.92 | 12.5536 | 9.92 | 12.5536 | 9.92 | 12.5536
|  |  | Trak 8821, Red Channel |  | 16 |  | 0.62 | 16 |  | 0.62 | 16 |  | 0.62 | 16 |  | 0.62 | 16 |  | 0.62 | 16 |  | 0.62 | 16 |  | 0.62 | 9.92 | 12.5536 | 9.92 | 12.5536 | 9.92 | 12.5536 | 9.92 | 12.5536 | 9.92 | 12.5536 | 9.92 | 12.5536 | 9.92 | 12.5536
|  |  | AT-MC13 Media Converter, Red Channel |  | 10 |  | 0.7 | 10 |  | 0.7 | 10 |  | 0.7 | 10 |  | 0.7 | 10 |  | 0.7 | 10 |  | 0.7 | 10 |  | 0.7 | 7 | 7.1414 | 7 | 7.1414 | 7 | 7.1414 | 7 | 7.1414 | 7 | 7.1414 | 7 | 7.1414 | 7 | 7.1414
|  |  | AT-MC13 Media Converter, Blue Channel |  | 10 |  | 0.7 | 10 |  | 0.7 | 10 |  | 0.7 | 10 |  | 0.7 | 10 |  | 0.7 | 10 |  | 0.7 | 10 |  | 0.7 | 7 | 7.1414 | 7 | 7.1414 | 7 | 7.1414 | 7 | 7.1414 | 7 | 7.1414 | 7 | 7.1414 | 7 | 7.1414
|  |  | 3Com 3226 Network Switch |  | 20 |  | 0.76 | 20 |  | 0.76 | 20 |  | 0.76 | 20 |  | 0.76 | 20 |  | 0.76 | 20 |  | 0.76 | 20 |  | 0.76 | 15.2 | 12.9985 | 15.2 | 12.9985 | 15.2 | 12.9985 | 15.2 | 12.9985 | 15.2 | 12.9985 | 15.2 | 12.9985 | 15.2 | 12.9985
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | CONNECTED | LOAD | GROUND | OPERATIONS | ENGINE | START | TAXI |  | TAKE OFF | & CLIMB | CRUISE |  | HOLD & | LAND
[26 empty] | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot
|  |  |  | BUS TOTALS: | VA |  | 71.7599 | VA |  | 71.7599 | VA |  | 71.7599 | VA |  | 71.7599 | VA |  | 71.7599 | VA |  | 71.7599 | VA |  | 71.7599 | 49.04 | 52.3886 | 49.04 | 52.3886 | 49.04 | 52.3886 | 49.04 | 52.3886 | 49.04 | 52.3886 | 49.04 | 52.3886 | 49.04 | 52.3886
[5 empty] | PF |  | 0.68339 | PF |  | 0.68339 | PF |  | 0.68339 | PF |  | 0.68339 | PF |  | 0.68339 | PF |  | 0.68339 | PF |  | 0.68339
[5 empty] | W |  | 49.04 | W |  | 49.04 | W |  | 49.04 | W |  | 49.04 | W |  | 49.04 | W |  | 49.04 | W |  | 49.04
[5 empty] | VAR |  | 52.3886 | VAR |  | 52.3886 | VAR |  | 52.3886 | VAR |  | 52.3886 | VAR |  | 52.3886 | VAR |  | 52.3886 | VAR |  | 52.3886
| BUS: | UST2 | UPS Strip #2 | [7 empty] | NEXT HIGHER BUS: |  | UPSB
[6 empty] | CONNECTED |  |  | GROUND |  |  | ENGINE | [5 empty] | TAKE OFF | [5 empty] | HOLD |  | CONNECTED | LOAD | GROUND | OPERATIONS | ENGINE | START | TAXI |  | TAKE OFF | & CLIMB | CRUISE |  | HOLD & | LAND
ATA |  | STRIP/ | EQUIPMENT |  |  | LOAD |  |  | OPERATION |  |  | START |  |  | TAXI |  |  | & CLIMB |  |  | CRUISE |  |  | AND LAND |  | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR
CHPT |  | C/B NO. | NOMENCLATURE |  | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF
|  |  | Netra T1, Blue Channel (ibis) |  | 76 |  | 0.98 | 76 |  | 0.98 | 76 |  | 0.98 | 76 |  | 0.98 | 0 |  |  | 76 |  | 0.98 | 0 |  |  | 74.48 | 15.1238 | 74.48 | 15.1238 | 74.48 | 15.1238 | 74.48 | 15.1238 | 0 | 0 | 74.48 | 15.1238 | 0 | 0
|  |  | Netra T1, Blue Backup (hipo) |  | 76 |  | 0.98 | [9 empty] | 0 | [5 empty] | 0 |  |  | 74.48 | 15.1238 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Netra T1, Red Channel (egret) |  | 76 |  | 0.98 | 76 |  | 0.98 | 76 |  | 0.98 | 76 |  | 0.98 | 0 |  |  | 76 |  | 0.98 | 0 |  |  | 74.48 | 15.1238 | 74.48 | 15.1238 | 74.48 | 15.1238 | 74.48 | 15.1238 | 0 | 0 | 74.48 | 15.1238 | 0 | 0
|  |  | Netra T1, Red Backup (croc) |  | 76 |  | 0.98 | [9 empty] | 0 | [5 empty] | 0 |  |  | 74.48 | 15.1238 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Mac Mini, Primary (grebe) |  | 51 |  | 1 | 51 |  | 1 | 51 |  | 1 | 51 |  | 1 | 0 |  |  | 51 |  | 1 |  |  |  | 51 | 0 | 51 | 0 | 51 | 0 | 51 | 0 | 0 | 0 | 51 | 0 | 0 | 0
|  |  | Mac Mini, Backup (jacana) |  | 51 |  | 1 | [9 empty] | 0 | [8 empty] | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | CONNECTED | LOAD | GROUND | OPERATIONS | ENGINE | START | TAXI |  | TAKE OFF | & CLIMB | CRUISE |  | HOLD & | LAND
[26 empty] | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot
|  |  |  | BUS TOTALS: | VA |  | 404.4696 | VA |  | 202.2348 | VA |  | 202.2348 | VA |  | 202.2348 | VA |  | 0 | VA |  | 202.2348 | VA |  | 0 | 399.92 | 60.4952 | 199.96 | 30.2476 | 199.96 | 30.2476 | 199.96 | 30.2476 | 0 | 0 | 199.96 | 30.2476 | 0 | 0
[5 empty] | PF |  | 0.98875 | PF |  | 0.98875 | PF |  | 0.98875 | PF |  | 0.98875 | PF |  | 0 | PF |  | 0.98875 | PF |  | 0
[5 empty] | W |  | 399.92 | W |  | 199.96 | W |  | 199.96 | W |  | 199.96 | W |  | 0 | W |  | 199.96 | W |  | 0
[5 empty] | VAR |  | 60.4952 | VAR |  | 30.2476 | VAR |  | 30.2476 | VAR |  | 30.2476 | VAR |  | 0 | VAR |  | 30.2476 | VAR |  | 0
| BUS: | RCP | Red Channel Power | [7 empty] | NEXT HIGHER BUS: |  | UPSB
[6 empty] | CONNECTED |  |  | GROUND |  |  | ENGINE | [5 empty] | TAKE OFF | [5 empty] | HOLD |  | CONNECTED | LOAD | GROUND | OPERATIONS | ENGINE | START | TAXI |  | TAKE OFF | & CLIMB | CRUISE |  | HOLD & | LAND
ATA |  | STRIP/ | EQUIPMENT |  |  | LOAD |  |  | OPERATION |  |  | START |  |  | TAXI |  |  | & CLIMB |  |  | CRUISE |  |  | AND LAND |  | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR
CHPT |  | C/B NO. | NOMENCLATURE |  | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF
|  |  | Vicor Power Supply |  | 115 |  | 0.52 | 115 |  | 0.52 | 115 |  | 0.52 | 115 |  | 0.52 | 115 |  | 0.52 | 115 |  | 0.52 | 115 |  | 0.52 | 59.8 | 98.2291 | 59.8 | 98.2291 | 59.8 | 98.2291 | 59.8 | 98.2291 | 59.8 | 98.2291 | 59.8 | 98.2291 | 59.8 | 98.2291
|  |  | Leach System |  | 100 |  | 0.71 | 100 |  | 0.71 | 100 |  | 0.71 | 100 |  | 0.71 | 100 |  | 0.71 | 100 |  | 0.71 | 100 |  | 0.71 | 71 | 70.4202 | 71 | 70.4202 | 71 | 70.4202 | 71 | 70.4202 | 71 | 70.4202 | 71 | 70.4202 | 71 | 70.4202
|  |  | Uniblitz VMM-D1 |  | 15 |  | 0.65 | 15 |  | 0.65 | 15 |  | 0.65 | 15 |  | 0.65 | 15 |  | 0.65 | 15 |  | 0.65 | 15 |  | 0.65 | 9.75 | 11.399 | 9.75 | 11.399 | 9.75 | 11.399 | 9.75 | 11.399 | 9.75 | 11.399 | 9.75 | 11.399 | 9.75 | 11.399
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | CONNECTED | LOAD | GROUND | OPERATIONS | ENGINE | START | TAXI |  | TAKE OFF | & CLIMB | CRUISE |  | HOLD & | LAND
[26 empty] | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot
|  |  |  | BUS TOTALS: | VA |  | 228.4112 | VA |  | 228.4112 | VA |  | 228.4112 | VA |  | 228.4112 | VA |  | 228.4112 | VA |  | 228.4112 | VA |  | 228.4112 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483
[5 empty] | PF |  | 0.61534 | PF |  | 0.61534 | PF |  | 0.61534 | PF |  | 0.61534 | PF |  | 0.61534 | PF |  | 0.61534 | PF |  | 0.61534
[5 empty] | W |  | 140.55 | W |  | 140.55 | W |  | 140.55 | W |  | 140.55 | W |  | 140.55 | W |  | 140.55 | W |  | 140.55
[5 empty] | VAR |  | 180.0483 | VAR |  | 180.0483 | VAR |  | 180.0483 | VAR |  | 180.0483 | VAR |  | 180.0483 | VAR |  | 180.0483 | VAR |  | 180.0483
| BUS: | BCP | Blue Channel Power | [7 empty] | NEXT HIGHER BUS: |  | UPSB
[6 empty] | CONNECTED |  |  | GROUND |  |  | ENGINE | [5 empty] | TAKE OFF | [5 empty] | HOLD |  | CONNECTED | LOAD | GROUND | OPERATIONS | ENGINE | START | TAXI |  | TAKE OFF | & CLIMB | CRUISE |  | HOLD & | LAND
ATA |  | STRIP/ | EQUIPMENT |  |  | LOAD |  |  | OPERATION |  |  | START |  |  | TAXI |  |  | & CLIMB |  |  | CRUISE |  |  | AND LAND |  | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR | W | VAR
CHPT |  | C/B NO. | NOMENCLATURE |  | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF | VA |  | PF
|  |  | Vicor Power Supply |  | 115 |  | 0.52 | 115 |  | 0.52 | 115 |  | 0.52 | 115 |  | 0.52 | 115 |  | 0.52 | 115 |  | 0.52 | 115 |  | 0.52 | 59.8 | 98.2291 | 59.8 | 98.2291 | 59.8 | 98.2291 | 59.8 | 98.2291 | 59.8 | 98.2291 | 59.8 | 98.2291 | 59.8 | 98.2291
|  |  | Leach System |  | 100 |  | 0.71 | 100 |  | 0.71 | 100 |  | 0.71 | 100 |  | 0.71 | 100 |  | 0.71 | 100 |  | 0.71 | 100 |  | 0.71 | 71 | 70.4202 | 71 | 70.4202 | 71 | 70.4202 | 71 | 70.4202 | 71 | 70.4202 | 71 | 70.4202 | 71 | 70.4202
|  |  | Uniblitz VMM-D1 |  | 15 |  | 0.65 | 15 |  | 0.65 | 15 |  | 0.65 | 15 |  | 0.65 | 15 |  | 0.65 | 15 |  | 0.65 | 15 |  | 0.65 | 9.75 | 11.399 | 9.75 | 11.399 | 9.75 | 11.399 | 9.75 | 11.399 | 9.75 | 11.399 | 9.75 | 11.399 | 9.75 | 11.399
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[26 empty] | CONNECTED | LOAD | GROUND | OPERATIONS | ENGINE | START | TAXI |  | TAKE OFF | & CLIMB | CRUISE |  | HOLD & | LAND
[26 empty] | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot | W Tot | VAR Tot
|  |  |  | BUS TOTALS: | VA |  | 228.4112 | VA |  | 228.4112 | VA |  | 228.4112 | VA |  | 228.4112 | VA |  | 228.4112 | VA |  | 228.4112 | VA |  | 228.4112 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483 | 140.55 | 180.0483
[5 empty] | PF |  | 0.61534 | PF |  | 0.61534 | PF |  | 0.61534 | PF |  | 0.61534 | PF |  | 0.61534 | PF |  | 0.61534 | PF |  | 0.61534
[5 empty] | W |  | 140.55 | W |  | 140.55 | W |  | 140.55 | W |  | 140.55 | W |  | 140.55 | W |  | 140.55 | W |  | 140.55
[5 empty] | VAR |  | 180.0483 | VAR |  | 180.0483 | VAR |  | 180.0483 | VAR |  | 180.0483 | VAR |  | 180.0483 | VAR |  | 180.0483 | VAR |  | 180.0483