Asteroid_Linker

User's Guide

Version 0.1

2003 April 30

Introduction

Asteroid_Linker is a software package designed to find potential asteroids on a sequence of frames (or images) produced by a CCD camera mounted on a telescope. The software uses detection lists as its raw data. Detection lists are usually produced by other software packages such as SExtractor or DOPHOT. They are lists that contain, as a minimum, the coordinates, detection time, and magnitudes of all the objects (sources) found on a frame.

Asteroid_Linker generally assumes that the detection lists were produced from images that were taken on the same area of the sky but were temporally separated by a few minutes to a few hours.

It finds asteroids by locating sources that seem to move in a way consistent with asteroid motion.

Asteroid_Linker produces lists of sources that have asteroid-like motion. The list has the time, the position, and the brightness of each putative asteroid organized so that all detections of the same asteroid are presented together. As the user attempts to make best use of Asteroid_Linker, s/he will notice that many detections are linked as if they are asteroids but, upon examination, they are clearly false linkages or false detections. One of the main purposes of this document is to offer suggestions on techniques that can be used to reduce the number of false detections to a manageable level.

Algorithm

After reading all the user-supplied detection lists, Asteroid_Linker considers each source in the first list, S1, one at a time. For each source in S1, it determines if there is a source in the third list, S3, which has motion consistent with an asteroid. Since asteroids can move in any direction, there can be many tens or hundreds of linkages from a single S1 source to S3 sources. The only limit to such linkage is a user-imposed "speed" limit. That is, the user can tell the software to make linkages only for limited values of sky-plane rates. Typical values would be a few degrees per day. For each linkage, the software predicts where a source on the second list, S2, and a fourth list, S4, should be. The software then searches S2 and S4, looking for the predicted sources. If the sources are found, the putative asteroid detection is subjected to further tests.

The first test is a linearity test. Asteroids appear to move in straight lines if the time between images is not too large. So the four detections are fit to a straight line and if the residuals are too large, the detections are rejected as a putative asteroid.

The second test is a magnitude test. Asteroids generally do not change brightness very much if the time between images is not too large. So the magnitude test compares the brightness of the asteroid in a particular image to the brightness averaged over all images. If the residuals are too large, the putative asteroid is rejected.

Because source extraction algorithms are imperfect and catalogs are imperfect, motionless stars are assigned positions that change very slightly from one image to another and their position may be far enough from a known catalog star to escape identification as a star. In this case, Asteroid_Linker will find a star that "jitters" from frame to frame and will attempt to fit a straight line to its positions. Of course, it will succeed because the jitter will almost always be within the maximum error criteria of the first test. To overcome this problem, the software invokes a 'motionless' test. If a detection seems to be motionless, within the constraints of astrometry error, the sources are declared to be motionless and are removed from further consideration. The putative detection is rejected.

The duplicate check finds putative asteroids whose positions are partially duplicated. Of course, at least one of the detections must be false because a single source cannot belong to two asteroids. (This statement is not strictly true. Examples exist of two real asteroids crossing where, in one image, one asteroid seemed to occult the other. Such an occurrence is very rare so this test is almost always valid.) Since the software cannot determine which is false, it flags both detections as containing duplicate sources and lets the user become the final arbiter of falsehood.

Performance

Using a brute force technique of looking at all possible combinations of sources to find asteroid linkages would produce unusable code. For example, if each of four detections lists contained 10^4 sources, the total number of possible combinations to be examined would be 10^16. A gigahertz computer examining a complete combination each clock cycle would require 10^7 seconds (4 months) to analyze a single set of detections.

To reduce execution time, each source list is sorted by declination (or by the y coordinate). Each source in S1 must be examined. It is traversed from smallest to largest y.  However, only those y elements in the second list that meet the "speed" criteria need to be examined. Since S3 is sorted in y, the software remembers the low limit that is too far from the S1 element and always starts the S3 search at the point. Of course, the search stops when y increases beyond the upper limit. Each time through S3, the lower limit moves up so only part of the list has to be search.

When searching S2 and S4, the algorithm knows what values of y are permissible. It is a very narrow range. So the software can perform a binary search on sorted S2. If a candidate is found, then a binary search of S4 is performed. So the total number of searching iterations for lists of length N becomes less than N^2 * log(N)^2 (using base 2 log). When N is 10^4, the total number of iterations is of order 10^10 which implies 0.000001 the time of the brute force method. Preliminary tests indicate that when N is about 2,000, the total time required is about 30 seconds on a 140 MHz computer.

False Detections

Source detection algorithms, such as SExtractor, when used aggressively, can produce large number of false detections. When the corresponding detection lists are passed to Asteroid_Linker, we get far fewer putative asteroids than we might expect. The reason, of course, is that the false detections in the source lists must lie in straight lines and pass all the other tests of Asteroid_Linker. Examining the statistics of false linkages will help the reader understand some of the techniques used to limit false linkages.

Any source detection algorithm has a probability, P(x), of generating a false detection. In this case, x is the detection threshold expressed in units of sigma above the average background level.

P(x) is the probability per pixel. We can express the total number of false asteroid detections we expect in terms of the function, P(x), and the observing program or cadence we use in obtaining frames.

In a typical cadence where four frames are taken at 15 minute intervals, and we are constraining the search to main-belt asteroids (say 0.48 deg/day), and we are using the LONEOS telescope/camera with 2.5 arcsec pixels and a 4K X 4K pixel array, we would find the following:

Frame 1: We consider all pixels (4K X 4K = 16M = T) so the number of false sources is T*P(x)

Frame 3: For each false detection in frame 1, we consider a circular area 14 pixels (36 arcsec) in radius in frame 3 (30 minutes after frame 1). This is the area to which an object moving 0.48 deg/day would be confined. This is also an area of about 650 pixels = A3. So the probability of a false detection in the first image forming a correlation with a false detection in the third image is T * A3 * P(x)^2.

Frame 2: For each correlation of false detections formed in frame 1 and frame 3, we consider a circular area 0.7 pixels in radius where a false detection must appear. This value is set by the linear motion test. The area corresponding to 0.7 pixels is about 1.5 pixels = A2. The probability of three false detections forming a linear set is then T * A2 * A3 * P(x)^3.

Frame 4: We use the same criteria for frame 4 as for frame 2 and the probability of forming a four-source false detection becomes T * A2 * A2 * A3 * P(x)^4.

Of these values, T, the total number of pixels in our CCD is fixed. The function P is also fixed, and to some degree unknown. However, A2, A3 and the detection threshold, x, are under our control. We have a qualitative knowledge about P: it behaves like erfc(x). That is, it exponentially approaches zero as x increases and it is never greater than one.

So we can make the following summary statements:

1.	The number of noise detections is proportional to P(x)^N where N is the number of frames taken. Since P is always less than one, more frames mean fewer noise detections. If we have chosen x so that P(x) is very small, the probability of a false detection is, with multiple images, extremely small.

2.	P depends very strongly on x. If we are getting too may false asteroids, we can raise the detection threshold slightly and get a dramatic decrease in false asteroid detections.

3.	We can choose the areas (or cadence) to reduce A2 or A3. If the software is generating too may false detections, we might have to target a specific population of small bodies (KBOs, PHAs, and NEOs) or we might have to reduce the time between frames.

Parameters

Every telescope, CCD, observing cadence, and target object will require Asteroid_Linker to perform in a slightly different way. To aid the user in optimizing Asteroid_Linker for specific requirements, a set of adjustable parameters has been provided. The user may supply values for the adjustable parameters through the command line or through a parameters file. Both methods require a keyword and value for each parameter the user wishes to change. The following table indicates all the parameters available.

Keyword	Meaning		Default	Value		Comments

Value		Range

PARMFILE	The name of the	none		none		Required on the command

parameter file.						line. Not available in the

parameter file.

COMMENT	Keyword for a		none		none		Not available on the

command file						command line. A blank

comment.						keyword in the parameter

file is considered a

COMMENT keyword.

IMGCOUNT	The number of image	0		0 - 4		Only the value 4 has been

source files to be					fully implemented.

considered

FILE1		The name of the	<blank>	legal

first image source			filenames

file.

FILE2		The name of the	<blank>	legal

second image source			filenames

file.

FILE3		The name of the	<blank>	legal

third image source			filenames

file.

FILE4		The name of the	<blank>	legal

forth image source			filenames

file.

MAXVEL	The maximum 	15.0		0.0 - 1440.0	Units: deg./day

permitted areal

velocity for asteroids.

MINVEL	The minimum		0.01		0.0 - < MAXVEL

permitted areal

velocity for asteroids.

BASEDEV	The maximum error	0.7		0.0 - 200.0	Units: pixels

permitted when fitting

asteroid positions to

a straight line.

STARDEV	The maximum inter-	0.7		0.0 - 10.0	Units: pixels

list movement

permitted for a star.

Not a velocity.

MAGDEV	The maximum		1.0		0.0 - 10.0	Units: magnitude

magnitude deviation

permitted for an

asteroid.

ICR		The initial correlation	4.0		0.0 - 20.0	Units: pixels

radius. Any detection

falling within this radius

of a calculated position

will be accepted for

linear testing.

FOCLEN	The focal length of 	1.1		0.0 - 100.0	Units: meters

telescope that

produced the frame.

PIXSIZE	The pixels size of	0.0000135	0.0 - 0.01	Units: meters

the CCD used to

produce the frame.

The syntax for invoking Asteroid _Linker is

% asteroid_linker keyword1 value1 keyword2 value2 ... keywordn valuen

The PARMFILE parameter is required at every invocation of Asteroid_Linker. It should be immediately followed by the parameter file name. For example,

% asteroid_linker parmfile al_parameters_1.3m.txt

Notice that the keywords must not be preceded by a dash (-). They can be in mixed case. In the next example, all the source detection lists (list1.lst ... list4.lst) are specified on the command line.

% asteroid_linker parmfile al_parameters_1.3m.txt list1 pass1.lst list2 pass2.lst list3 pass3.lst list4 pass4.lst

Such long lists on the command line quickly become tedious so it is often advantageous to use

the parameter file to perform the same tasks.

The syntax rules for the parameter file are as follows:

1.	Each line should contain a single keyword/value pair except for comment lines.

2.	All lines should be 80 characters or less in length.

3.	Lines should be terminated with a <CR><LF> or the standard line termination for the operating system in use. Keywords should be 8 characters or less in length.

4.	Keywords should begin in column 1.

5.	Keywords may contain only upper-case letters, numbers or an underscore. Keywords are pre-defined so the user does not have the option of creating new keywords.

6.	Keywords, except "COMMENT", should be followed by an equal sign in column 10 and a value which should be specified in column 12 or higher.

7.	The text of comments should begin in column 12 or higher.

8.	Value descriptions can be placed after a value if a slash, "/", is used to separate the value from the text. Spaces should surround the slash.

9.	Integer values should not have a decimal point.

10.	Real values should have a decimal point.

11.	String values should be within apostrophes, ('). To include an apostrophe within a string, double it. ('').

12.	A blank keyword field is treated as a COMMENT keyword.

The following section is a sample parameter file.

COMMENT     A sample parameter file for Asteroid_Linker

IMGCOUNT =                   4 / The number of source lists

LIST1    = 'x1.can' / Source list 1

LIST2    = 'x2.can' / Source list 2

LIST3    = 'x3.can' / Source list 3

LIST4    = 'x4.can' / Source list 4

MAXVEL   =                15.0 / Max. permissible asteroid velocity (deg./day)

MINVEL   =                0.03 / Min. permissible asteroid velocity (deg./day)

BASEDEV  =                 0.7 / Allowable deviation from linear (pixels)

FOCLEN   =                 1.1 / Focal length of telescope (m)

PIXSIZE  =           0.0000135 / Pixel size (m)

Adjusting the parameters

Selecting a target population

The MAXVEL and MINVEL parameters are most useful for selecting a target population. Recalling the expression that predicts the number of false linkages, T * A2 * A2 * A3 * P(x)^4, the goal is to reduce the 'A' terms, that is, the terms that express the area of an images that must be examined to form a linkage.

To find KBOs, for example MINVEL could be 0.0 deg/day and MAXVEL could be 0.2 deg/day. Even when the images are spaced hours or days apart, the search radius remains reasonable and the number of false detections is limited. When one reduces the number of false linkages, it is often expedient to move the detection threshold lower. Fainter real objects can be found, (along with more false detections) but the linking process can ignore them. One can tune the source detection and linking to attain a tolerable number of false detections.

Searching for NEOs is more difficult because they can move very rapidly (10s or 100s of deg/day). Raising the MINVEL to 0.4deg/day would exclude the main-belt asteroids but most of the area required for the search would still be present. It would be possible, however, to search for main-belt asteroids and ignore the faster objects. This would again reduce the search radius and produce a corresponding reduction is false linkages.

Reducing false linkages

The most powerful parameter to reduce false linkages is BASEDEV. This is the parameter that sets the maximum allowable deviation from linear motion.  Through trial and error, the user can find the minimum value of this parameter that reliably finds moving objects. As this parameter decreases, the number of false linkages will decrease. The number of false linkages should be proportional to the square of the value.

MAGDEV limits the maximum deviation in magnitude for all the detections of a putative asteroid. MAGDEV is not as useful as BASEDEV in reducing false detection. Its weakness lies in the fact that as the signal becomes fainter, the ability to get correct magnitudes diminishes. However, the user is generally interested in the faintest detections. So, MAGDEV should not be considered a powerful false linkage discriminator but a discriminator for truly awful magnitude matches.

STARDEV sets the maximum allowable motion for an object to be considered stationary. Many stars are included in the list of possible moving sources and if the stars can be identified and ignored, the work of linking is greatly reduced and the number of false detections is greatly reduced. In a sense, this parameter is a measure of how well the astrometry is repeatable from frame to frame. This is a parameter that has to be set experimentally. The user would gradually make the STARDEV value smaller and the number of false linkages would decrease. However, if it becomes too small, known real detections will start to disappear. The user should stop decreasing the value if known objects are not linked.

The initial correlation radius parameter, ICR, is used to define the area in which a detection must be found after its position is calculated by linkages formed from source list 1 and source list 3. It must be large enough to contain a source that should be linked but, if it is too large, it will make putative linkages that must be examined and rejected by the linear check. This parameter is not very helpful in reducing false linkages but it does affect the total performance of the algorithm.

Smaller is faster. Larger is more inclusive. Too small deletes real linkages.

Technique

To make best use of Asteroid_Linker, follow this prescription.

1.	Select the smallest value of MAXVEL and the largest value of MINVEL consistent with the target population of moving objects and the observing cadence used to search for these objects.

2.	Make a set of test observations in an area where the target population is well known. Sometime, the user will have to devise a surrogate population and alter the cadence to simulate an unknown population. For example, asteroids could be used as the surrogate for KBOs, but the integration time and the time between frames would be altered to produce detections with characteristics similar to KBOs.

3.	Create a list of all detections that should be made with the test observations.

4.	Create a list of sources from the observations. Typically, the user would employ a standard package such as SExtractor or DOPHOT.

5.	Vet the lists when possible. For example, SExtractor identifies sources that are on the edge of the frame, that have bad photometry, and that are extended objects. There are no extended asteroids.

6.	Repeatedly run Asteroid_Linker using the source lists. Since most of the tuning parameters are independent, it is possible to modify each one in turn, looking for the best compromise between false linkages and real linkages. Start with BASEDEV and then optimize STARDEV. The other parameters are not so important but their value will become clear if the user has a significant number of real targets in the field.

Notice that STARDEV and MINVEL are not completely independent when MINVEL is small. The user should probably pay most attention to STARDEV and make MINVEL large enough that even between frames taken close together in time, the motion of a linked object would exceed the value of STARDEV.

Again, the value of MAGDEV is not a powerful discriminator. However, the magnitude values displayed by Asteroid_Linker will indicate the normal spread of magnitudes. The user should never be so restrictive with MAGDEV that real linkages could be lost.

Future versions

1.	Future versions will have more adjustable options. The existing keyword set is not stable.

2.	Support for 2, and 3 detection lists will be added.

3.	Experience has shown that the order in which linkages are formed make a difference in the total number of linkages found. It sounds unbelievable but it's true. So, an option will be added to permit a second linking order to run after the first set of linkages is formed.

4.	Errors will be trapped more gracefully and reported more fully.

5.	The output format is fixed. It should become more flexible or at least make several options available. A simple useful option would be to create output files in exactly the same format as the input files but with linked objects only. Then some subset of these files could be used to form linkages when more than four frames were taken of the same field.

6.	The program should offer some sort of status messages as it runs. The status messages should be available in at least QUIET, STANDARD, and VERBOSE modes.

Author:	Bruce Koehn

Lowell Observatory

koehn@lowell.edu